## Sheet1
| Daily | Monthly | Quartely | Semi-Annual | Annual | Notes:
Sprinklers | x |  | x | x | x
Valves,Valve cmponenets,trim Inspections | x | x | x |  |  | Sealed Control Valves, Master Pressure Reducing valve
Fire pump system | x |  |  |  |  | Casing Relief Valves, Pressure Relief Valves, PumpHose, Heatin Ventilation Louvers
Backflow prevention assmeblies | x | x | x |  |  | Reduced Pressure, reduced Pressure Detectors, Control Valves (locked/Suprevised)
StandPipe | x | x | x |  |  | Sealed Control Valves
Inspect all gauges | x | x | x | x | x
Alarm Devices |  |  | x
Hose connections and hose racks |  |  | x
Fire department connections |  |  | x
Monitor Nozzels |  |  |  | x
Private fire service maintanance |  |  | x | x | x
Portable Fire Extenguishers |  | x |  |  | x
Nothing Blocking Access to Extinguisher |  | x
Pressure Guage shows fully charged |  | x
Hose/Nozzle is free of damage or obstructions |  | x
Pin and Tamper seal are intact |  | x
Handle/Lever is undamaged |  | x
No dents, Leaks, Rust, or Chemical Deposits |  | x
Dry Powder chemical moves freely in tank |  | x
Inspection tag is attached and up to date |  | x
All of Monthly inspection |  |  |  |  | x
Conductivity test (Carbon Dioxide) |  |  |  |  | x
Determination of 6 year or Hydrotest |  |  |  |  | x
Inspection of shell and nameplate |  |  |  |  | x
Inspection of hanger and seismic bracing |  |  |  |  | x
Automatic Fire Alarm |  | x |  | x | x
Fire alarm systems unmonitered |  | x |  | x | x
Supervisory systems |  | x |  | x | x
trouble signals |  | x |  | x | x
Batteries |  |  |  | x
Initiating devices |  |  |  | x
| Daily | Monthly | Quartely | Semi-Annual | Annual | Notes:
Egress Requirements Emergency Lights/Exit Signs |  | x |  |  | x
Functional test |  | x
90 minute drain test |  |  |  |  | x
Verification of charge voltage |  |  |  |  | x
Alignment of heads |  |  |  |  | x
Hazzard Assesment |  |  |  |  | x
Inspepction Sticker |  |  |  |  | x
Required paperwork |  |  |  |  | x
Hood Supression System |  | x |  | x | x
Owners inspection |  | x
Suppression System |  |  |  | x
fusible link system |  |  |  | x | x
Cartridge (Hydrostatic test) |  |  |  |  | x